## Slide 1: Tools for Stormwater Quality Management
July 18, 2025
Sheeba M Thomas Dominguez, PE, PhD – Lead Technical Engineer

## Slide 2: Agenda
Background
Approach
Models and Analysis
Results
WQ Improvement Implementation

## Slide 3: Impaired Waterbodies for Primary Contact Recreation

## Slide 4: Salado Creek Watershed
2005 Impervious Cover
2017 Impervious Cover
2040 Impervious Cover
Δ IC Area~14.5 mi2
Δ IC Area~26 mi2
IC%~35%
IC%~41%
IC%~53%

## Slide 5: Our Approach
Baseline
Model
(HSPF Models)
Quantify
Mitigation
(Models and WQ Tools)
Informed
Planning
Quantify
WQ Issues
(Models and WQ Tools)

## Slide 6: SARA Project Team
Sheeba Thomas, PhD, P.E., PMP
Yu-Chun Su, PhD, PE,CPESC, CPSWQ
Paul Duda
RESPEC (formerly Aqua Terra)

## Slide 7: SARA Suite of WQ Modeling Tools
Approach and Tools to allow quantitative WQ planning:
  SARA WQ modeling standards
  WQ model development and calibration
    HSPF
  Timeseries Utility Tool
  Load Reduction Tool
  SARA Enhanced BMP Tool
    BMP Database

## Slide 8: SARA WQ Modeling Standards

## Slide 9: Data Needed for WQ Modeling
DFIRM
  Subbasin delineation
  Stream shapefile
  HEC-HMS
  HEC-RAS
Topography
  DEM
  Contours
Channel XS
Dams/reservoirs
Aerial images
SSURGO soil data
Major development centers
Met data (NOAA)
Rainfall
  NOAA
  EAA (gage, NEXRAD)
  SARA
  USGS
Diversion
USGS flow data
Groundwater recharge & spring flow
Latest 303(d)
CRP Screening levels
Landuse & IC%
Water Quality
  SWQM
  USGS
Wastewater data
SSO
OSSF (estimates)
QUAL-TX models
Atmospheric deposition
Edwards Aquifer Infiltration Data
Rural watershed data
  Agricultural data
  SELECT or EC loading estimates

## Slide 10: Water Quality Data
Environmental Services Department Superstars!

## Slide 11: EAA’s Relative Infiltration Data

## Slide 12: Modeling Challenge Flood Control Tunnels

## Slide 13: HSPF Calibration – Continued Simulation Thru Wet/Dry
Salado Creek

## Slide 14: SARA Timeseries Utility Tool
Enhanced efficiency in reading large timeseries records (e.g. HSPF binary output).
Developed, tested, and released to public through EPA BASINS user community on 10/24/2013.
Replaced WDMUtil

## Slide 15: SARA Load Reduction Tool
Calibrated HSPF model UCI
User Specification
Target Subbasins/Landuses for BMP
Target constituents
  Concentration threshold
  Reduction Tolerance
  Maximum removal
Target point source
Automatic Load Reduction
From upstream to downstream subbasins
Generate detailed report
Uses load reduction factors in HSPF BMP Module.
Automates tedious process for large watershed models.
Compared to manual processes.
Developed, tested, and released to public through EPA BASINS user community on 5/09/2014.

## Slide 16: SARA Enhanced BMP Tool
Identify LID/BMPs to achieve needed load reductions.
Use LRT results or any calibrated HSPF models.
Combines robust land surface representation from HSPF with EPA SUSTAIN’s BMP capabilities.
Avoids ArcGIS version issue inherent in SUSTAIN by using non-GIS component (SUSTAINOPT)

## Slide 17: SARA BMP Tool Database

## Slide 18: Cost Saving with Optimization
Target: 40% Load Reduction
Optimal BMPs: $2.5 MM
Non-Optimal BMP Combinations: can be > $5MM
Cost Saving: can be $2.5 MM or 100%
Avoid building first then discover it won’t work or too costly
Load Reduction > 50% not possible with BMPs

## Slide 19: SARA WQ Modeling Tools Download Website

## Slide 20: Water Quality Improvement Areas

## Slide 21: Implementation of WQ Improvement and Collaboration
Models and analysis provide information on where improvement strategies need to be implemented
City of San Antonio
  MS4
  Bond Projects
EAA is partly providing funding for the Cibolo Creek Watershed
Team pursuing collaboration with other agencies for WQ improvement

## Slide 22: Watershed Master Plan Viewer

## Slide 23: Thank you!
Sheeba M Thomas Dominguez, PhD, PE, PMP
sthomas@sariverauthority.org